# Gas Grade Recommendations

## Analytical Method/	Carrier and

Detector	Support Gases

Gas Chromatography

TCD	N2

(Thermal Conductivity Detector)		He H2

Ar

FID	He

(Flame Ionization Detector)

## Carriers	N2

Ar

Combustion Gases	H2

40% H 2 in He

40% H 2 in N 2

Air

ECD	He

(Electron Capture Detector)

N2

## Type of Analysis

Impurity Considerations

## Universal Detector

Atmospheric contaminants can oxidize the detector ﬁlament giving rise to negative peaks and reduced sensitivity.

## Organic Compounds

Hydrocarbons in carrier and fuel gases can give rise to baseline noise and reduced detector sensitivity. Oxygen and water cause column deterioration and affect retention time on critical separations.

## Halogenated Compounds

Detector response and column life are reduced by oxygen and water. Hydrocarbons and halocarbons can produce baseline noise, negative peaks and

5% CH

4 in

plumbing contamination.

Ar-ECD (P-5)

10% CH 4 in Ar-ECD (P-10)

HID	He

(Helium Ionization Detector)	He Purge

FPD	He

(Flame Photometric Detector)	 	N2

H2

Air

PID	He

(Photo Ionization Detector)	N2

GC/MS	He

(Mass Spectrometer)	 	N2

Ar

DID	He

(Discharge Ionization Detector)	He Purge

USD	Ar

(Ultrasonic Detector)

He

## Universal Detector

Atmospheric impurities can cause baseline noise signal polarity and reduced detector stability and sensitivity.

## Sulfur or Phosphorous Compounds

Organics can yield baseline noise and carbon dioxide can suppress detector response.

Selective Detector Dependent on UV Source Organics can yield baseline noise and carbon dioxide can suppress detector response.

## All Compounds

Organics can yield baseline noise and carbon dioxide can suppress detector response.

## Universal Detector

Atmospheric impurities can cause baseline noise signal polarity and reduced detector stability and sensitivity.

## Universal Detector

Atmospheric impurities can cause baseline noise signal polarity and reduced detector stability and sensitivity

# Gas Grade Recommendations

## Analytical Method/	Carrier and

Detector	Support Gases

Optical Spectometry – Adsorption

NDR(Non-dispersive Infrared)	Air N2

IR (Dispersive Infrared)

-FTIR	Ar

(Fourier Transform Infrared)

## -FG/GFC	N2

(Correlation)

AA (Atomic Absorption)	C 2H2

Combustion Gases	 	n-C 4H10

H2

N2O

Air

Ar (Flameless) N2

NMR	LHe

(Nuclear Magnetic Resonance)	LN 2

## Type of Analysis

Impurity Considerations

## Polyatomic and Heteroatomic Compounds Polyatomic and Heteroatomic Compounds

During matrix isolation, oxygen can oxidize a sample. Moisture interfers with IR spectra. Impurities coinciding with quantified peaks can cause inaccuracies.

## Elemental Analysis

Impurites can cause the flame to discolor or burn unevenly. Furnace atmospheres require low oxygen and moisture levels to maintain instrument sensitivity.

## Analysis of Molecular Structure

Legend

AA – Atomic Absorption

UH– Ultra High Purity

RS – Research/Chromatographic

Z – Zero

UZ – Ultra Zero

IS – Instrument

OF – Oxygen Free

TG – Trace Analytical

EC – Electron Capture Detector

# Gas Grade Recommendations

| Analytical Method/ Detector | Carrier and Support Gases | Type of Analysis Impurity Considerations |
| --- | --- | --- |
| Optical Spectrometry – Emission |  |  |
| Atomic Emission - ICP (Inductive Coupled Plasma) | Ar | Elemental Analysis |
|  | LAr |  |
|  | N2 |  |
|  | H2 |  |
| Arc or Spark Emission | Ar | Elemental Analysis |
|  | H2 |  |
|  | 5% Ar in H 2 |  |
| Chemiluminescence | Air | NO-NO2 -NOX Hydrides and O3 |
|  | N2 |  |
|  | O2 |  |
| Fluorescence UV | Air | SO2-H2S-Organic Compounds |
|  | N2 |  |
| XRF (Fluorescence X) | 10% CH 4 in Ar | Elemental Analysis |
|  | 1.3% n-C 4H10 in He |  |
|  | 0.95% i-C 4H10 in He |  |
|  | LN 2 |  |
| Mass Spectrometry |  |  |
| MS (Under Vacuum) |  | All Compounds |
|  | N2 |  |
|  | He |  |

Legend

UH – Ultra High Purity

RS – Research

IC – Inductive Coupled Plasma

CE – Continuous Emissions Monitoring (See Pure Gas Section for correct definition)

TG – Trace Analytical

Z – Zero

VC – Volatile Organic Compound Free

UZ – Ultra Zero

# Gas Grade Recommendations

| Analytical Method/ Carrier and Type of Analysis Detector Support Gases Impurity Considerations |  |  |  |  |
| --- | --- | --- | --- | --- |
| Others |  |  |  |  |
| Nuclear Counter | 10% CH 4 in Ar |  |  | Measurement of Radioactivity |
|  | 1.3% n-C 4H10 in He |  |  |  |
|  | 0.95% i-C 4H10 in He |  |  |  |
| Hydrometer | Air |  |  | Moisture in All Gas |
|  | N2 |  |  |  |
| Paramagnetic Analyzer | N2 |  |  | Oxygen in All Gas |
|  | O2 in N2 |  |  |  |
| Carbon and Sulfur in Steel Ar He N2 O2 |  |  | Analysis of Carbon, Sulfur and Gases (N2-H2-O2) in Steel |  |

Instrumentation Mixture Summary

## Product	Mixture

Description	Application

40% H 2 in He (FID Fuel)	Fuel Gas for GC-FID (THC < 0.5 ppm)

40% H 2 in He UHP (FID Fuel)	Fuel Gas for GC-FID (THC < 0.1 ppm)

40% H 2 in N 2 (FID Fuel)	Fuel Gas for GC-FID (THC < 0.5 ppm)

40% H 2 in N 2 UH (FID Fuel)	Fuel Gas for GC-FID (THC < 0.1 ppm)

5% CH 4 in Argon-ECD (P-5)	Make-up Gas for GC-ECD

10% CH 4 in Argon-ECD (P-10)	Make-up Gas for GC-ECD

10% CH 4 in Ar (P-10)	XRF (Fluorescence X)

1.3% n-C 4H10 in He	XRF (Fluorescence X)

0.95% i-C 4H10 in He	XRF (Fluorescence X)

5% CH 4 in Ar (P-5)	Carrier Gas for Proportional Counters

10% CH 4 in Ar (P-10)	Carrier Gas for Proportional Counters

1.3% n-C 4H10 in He	Quench Gas

0.95% i-C 4H10 in He	Carrier Gas for Geiger-Muller

5% Ar in H 2	Spark Emission